## Slide 1: TPC Local Calibrations: New Distortion Handling
Speaker
Credit

## Slide 2: Executive Summary
Executive Summary
We developed an independent TPC-internal reconstruction workflow:
  index-space pattern recognition
  PHGarfield reverse drift
  magnetic field
  first-order space-charge model
  internal fit
Even at 1st Order, this handling of Space Charge delivers:
✓ consistent with zero
✓ mass at PDG value
✓ charge symmetry restored in
✓ -dependent residuals removed
✓ Side & charge-sign match in momenta spectra
✓ competitive execution speed
Goal:
Provide improved TPC inputs to the existing reconstruction framework.

## Slide 3: Distortions vs Alignments
The TPC is our only detector that suffers significantly from distortions:
  Gas properties  Known Physics (Garfield)
  Magnetic field  Measured by CERN.
  Electric Field  Space charge, Field Cage mechanics, magnetic materials…
Garfield handles these correctly physics as long as you know them
Space charge is the trickiest, but it can be handled by PHGarfield.

## Slide 4: Principle Aspects of Space Charge
A smooth underlying shape with finite-statistical fluctuations.
Two sources with different underlying shapes:
  Primary ionization (~5%):
    Zed-dependent density (high @ CM, low @ GEMs)
    R-dependent Density…”smooth” falloff at increasing R.
    ~Uniform in Phi.
  Ion Backflow (~95%)
    Flat in Zed & Phi
    Falls off with R.
    “Lumpy” (stripes have gaps, some are dead, may have substructure)
Primary
All
Stripes of charge
Leading term of SC:
Uniform Zed
Uniform Phi

## Slide 5: Space Charge is not in Free Space
For point charge at get
One can pre-integrate over any level of assumed
Distortion E goes into PHGarfield with a scaling factor.
Conductors Distort Field
Point Charge with TPC Boundary Conditions

## Slide 6: SC Electric field
This field is then normalized in South and North side to correspond the SC in a particular run These pictures show coefficient south =1, coefficient north=1

## Slide 7: PHGarfield Polylines
Magnetic field map
No SC Electric field

## Slide 8: Polylines
SC Electric field
For p+p
Coefficients
Soth 1.0 North 1.6

## Slide 9: Polylines
SC Electric field
For O+O
Coefficients
Soth 5.4 North 5.8

## Slide 10: Polylines
Exaggerated example
Coefficients
South 10 North 10

## Slide 11: Polylines
Exaggerated example
Coefficients
South 20 North 20

## Slide 12: How to apply this information:
Result now has a drift velocity that is:
  Not simply directed along Zed.
  Not a constant.
  Both radial (E from SC) and azimuthal (ExB) components.
The firing of a pad follows the Polyline backwards in time to place the charge into a 3D location within the TPC volume.
Desired:
  Comment these in three-space without snapping to ACTs
    Uncorrected distortions can be huge and make non-physical trajectories.
    Trajectories can appear non-physical when the SC correction is wrong.
    Need a “loose” algorithm that connects the hits to allow us to scan over too high and too low SC corrections to deduce experimentally the size of the distortion.
  Level of SC determined without bias toward “good tracks” “Matched tracks” …
  Corrected trajectory for each TPC-only track can return precision info to ACTs

## Slide 13: TPC-only Algorithm overview
Tpc_ModuleTracks
Assigned to module track
Not assigned to any track
TPC_AssembledTracks
( pad phi, layer radius, time bin)
( x, y, time bin)
TPC_PolyTracks
Hits
hardware coordinates
Hits
Physics space
x,y,z
Final clusters
x,y,z
E and B polylines
Reverse drift from pad plane
We will comment on algorithm performance at the end.

## Slide 14: Overview of the Process.
The figure on the left has been used to say that RDCA errors are not primarily from space charge since the effect seems to be leveling off with time.
We believe that this interpretation is premature since beam intensity does not fall linearly with time.
The figure on the right shows that when plotted vs beam load, the RDCA error does vary linearly with load.
Test scenario:
Use the 1st order space charge.
  Can be upgraded.
Solve TPC-only tracking with varying Space charge with a convergence criterion of “good RDCA”
Look at physical variables to see if there is improvement.

## Slide 15: With only magnetic field. Before SC 1st order SC
p+p
O+O
Mean values for such distributions don’t even make a lot of sense

## Slide 16: After SC 1st order correction
p+p
O+O
Demonstrates reasonable “tuning”

## Slide 17: Momentum Spectra & DCA Before and after
p+p Before
p+p After
Non-physical Differences
Excellent
Agreement
Larger
Smaller

## Slide 18: Before and after - rDCA
O+O Before
O+O After
Non-physical Differences
Excellent
Agreement
Larger
Smaller

## Slide 19: Electric field for Space charge coefficients
 | SC coefficient south | SC coefficient north | Undamaged GEM 4 current | MBD NS rate
6x6 Au+Au (76905) | 0 | 0 | N.R1.G4 - 895 nA N.R2.G4 - 535 nA N.R3.G4 - 506 nA S.R1.G4 - 770 nA S.R2.G4 - 520 nA S.R3.G4 - 505 nA | 1.54 kHz
p+p (79513) | 1.0 | 1.6 | N.R1.G4 - 3.2 A N.R2.G4 - 1.92 A N.R3.G4 - 1.9 A S.R1.G4 - 3.16 A S.R2.G4 - 2.07 A S.R3.G4 - 1.96 A | 232.228 kHz
O+O 111x111 (82626) | 5.4 | 5.8 | N.R1.G4 - 10.6 A N.R2.G4 - 6.75 A N.R3.G4 - 6.43 A S.R1.G4 - 11.2 A S.R2.G4 - 7.39 A S.R3.G4 - 6.42 A | 245 kHz
 | SC coefficient south | SC coefficient north | Undamaged GEM 4 current | MBD NS rate
6x6 Au+Au (76905) | 0 | 0 | N.R1.G4 - 895 nA N.R2.G4 - 535 nA N.R3.G4 - 506 nA S.R1.G4 - 770 nA S.R2.G4 - 520 nA S.R3.G4 - 505 nA | 1.54 kHz
p+p (79513) | 1.0 | 1.6 |  | 232.228 kHz
O+O 111x111 (82626) | 5.4 | 5.8 |  | 245 kHz
One of the smallest load runs
One of the largest load runs
NOTE: “Normal” S.C. density estimated by AI for this run.

## Slide 20: Electric field for Space charge coefficients
 | SC coefficient south | SC coefficient north | Undamaged GEM 4 current | MBD NS rate
6x6 Au+Au (76905) | 0 | 0 | N.R1.G4 - 895 nA N.R2.G4 - 535 nA N.R3.G4 - 506 nA S.R1.G4 - 770 nA S.R2.G4 - 520 nA S.R3.G4 - 505 nA | 1.54 kHz
p+p (79513) | 1.0 | 1.6 | N.R1.G4 - 3.2 A N.R2.G4 - 1.92 A N.R3.G4 - 1.9 A S.R1.G4 - 3.16 A S.R2.G4 - 2.07 A S.R3.G4 - 1.96 A | 232.228 kHz
O+O 111x111 (82626) | 5.4 | 5.8 | N.R1.G4 - 10.6 A N.R2.G4 - 6.75 A N.R3.G4 - 6.43 A S.R1.G4 - 11.2 A S.R2.G4 - 7.39 A S.R3.G4 - 6.42 A | 245 kHz
 | SC coefficient south | SC coefficient north | Undamaged GEM 4 current | MBD NS rate
6x6 Au+Au (76905) | 0 | 0 | N.R1.G4 - 895 nA N.R2.G4 - 535 nA N.R3.G4 - 506 nA S.R1.G4 - 770 nA S.R2.G4 - 520 nA S.R3.G4 - 505 nA | 1.54 kHz
p+p (79513) | 1.0 | 1.6 |  | 232.228 kHz
O+O 111x111 (82626) | 5.4 | 5.8 |  | 245 kHz
One of the smallest load runs
One of the largest load runs

## Slide 21: rDCA vs
Standard tracking
TPC SA tracking

## Slide 22: rDCA vs

## Slide 23: Residuals Cluster vs
Standard tracking: No distortion corrections
TPC SA tracking: Magnetic field + Electric field
Standard tracking: All distortion corrections

## Slide 24: Residuals Cluster vs
Standard tracking: No distortion corrections
TPC SA tracking: Magnetic field + Electric field
Standard tracking: All distortion corrections

## Slide 25: Residuals divided by side and charge
Standard tracking: No distortion corrections
TPC SA tracking: Magnetic field + Electric field
charge>0
Charge<0
South side 0
North side 1
Standard tracking: All distortion corrections

## Slide 26: Residuals Divided by side
Standard tracking: No distortion corrections
TPC SA tracking: Magnetic field + Electric field
South side 0
North side 1
South side 0
North side 1
Standard tracking: All distortion corrections
South side 0
North side 1

## Slide 27: (no gain corrections)
O+O run 82626
p+p run 79513
79516
79513
Integrated over phi

## Slide 28: charge assymetry
Within one sector

## Slide 29: combined spectra using dE/dx PID
Standard tracking
TPC SA tracking

## Slide 30: reconstruction
LF PPG16 https://sphenix-invenio.sdcc.bnl.gov/records/jx2cm-11v07
25k minbias p+p 79516 run
(only ~ zero crossing)
Different versions
Below PDG Mass
~At
PDG Mass
NOTE: Without Silicon Vertexing, there is increased combinatorial

## Slide 31: reconstruction
LF PPG16 https://sphenix-invenio.sdcc.bnl.gov/records/jx2cm-11v07
25k minbias p+p 79516 run
(only ~ zero crossing)
Different versions

## Slide 32: reconstruction Au+Au and O+O
with loose and tighter cuts

## Slide 33: Event Displays
6x6 Au+Au cm
Standard tracking
TPC SA tracking
Internal TPC Tracks are a small bit more numerous reflecting the “loose criterion” necessary for this analysis.

## Slide 34: Track double counting check
No evidence of double-counting.

## Slide 35: Request(s)
A pull request is ready and we would appreciate review by the tracking experts.
We would like for Mariia to present this analysis (these slides or slightly modified) at the local detector calibration meeting tomorrow.
  Since it is “TPC Internal” is seems appropriate.
We would like to develop the smooth interface plan to couple this workflow into the standard tracking.
  This will require a pre-pass to calibrate the space charge factor(s).
  This will require that these results transfer information to ACTs smoothly.
  This will require advice from you and other experts.
We would like to continue this development beyond first order to see how much of the distortion issue can be handled in this manner.
  Ross is presently working on a “sum over ARCs” style approach.
  Existing Digital Current work will meld smoothly into this effort.
  We anticipate that other things (like Bade’s work on TPOT) will benefit immediately.

## Slide 36: Integration with Standard Tracking
The deliverable of the TPC SA tracking is TPC track or TPC seed
Knowing trajectories this output can be connected with other subsystems
We currently consider various options:
  ACTS states – intersections of the TPC track with ideal ACTS surfaces – 48 states
  ACTS point and vector – treat TPC track as a seed , provide point and vector of the seed at inner field cage and outer field cage + several additional points in-between, to keep it as a seed
  Whatever folks more familiar with ACTs think is best.

## Slide 37: Conclusions
An independent TPC-internal reconstruction workflow has been demonstrated.
Multiple independent physics observables improve simultaneously.
First-order space charge already explains much of the observed behavior.
We believe the TPC should provide higher-level objects (tracks or seeds) to the global reconstruction.
We look forward to working with the tracking experts to determine the optimal ACTS interface.
"Our objective is not to replace the existing reconstruction, but to strengthen it by moving detector-specific tracking into the detector, where the relevant transport physics naturally resides."

## Slide 38: Speed p+p
-------------------------------------- ** --------------------------------------
Tpc_ModuleTrackReco_TOP: per event time (ms): 270.625
-------------------------------------- ** --------------------------------------
Tpc_AssembledTrackReco_TOP: per event time (ms): 364.996
-------------------------------------- ** --------------------------------------
Tpc_PolyClusterizer_TOP: per event time (ms): 14402.7
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackReco_TOP: per event time (ms): 0.971917
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackVertexer_TOP: per event time (ms): 0.139726
-------------------------------------- ** --------------------------------------
Known inefficiency, easy to improve, expected improvement ~10 times
Next step – working on code efficiency
TPC SA Tracking

## Slide 39: Speed p+p
-------------------------------------- ** --------------------------------------
PHActsTrkFitter_TOP: per event time (ms): 936.499
-------------------------------------- ** --------------------------------------
PHCASeeding_TOP: per event time (ms): 80.4181
-------------------------------------- ** --------------------------------------
PHSimpleKFProp_TOP: per event time (ms): 818.815
-------------------------------------- ** --------------------------------------
PHSimpleVertexFinder_TOP: per event time (ms): 0.401757
-------------------------------------- ** --------------------------------------
PHTpcDeltaZCorrection_TOP: per event time (ms): 27.0994
-------------------------------------- ** --------------------------------------
PrelimDistortionCorrection_TOP: per event time (ms): 113.907
-------------------------------------- ** --------------------------------------
TpcClusterizer_TOP: per event time (ms): 48.5728
Standard Tracking

## Slide 40: Speed Au+Au 6x6 1mrad
-------------------------------------- ** --------------------------------------
Tpc_ModuleTrackReco_TOP: per event time (ms): 1507.57
-------------------------------------- ** --------------------------------------
Tpc_AssembledTrackReco_TOP: per event time (ms): 1989.08
-------------------------------------- ** --------------------------------------
Tpc_PolyClusterizer_TOP: per event time (ms): 29938.8
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackReco_TOP: per event time (ms): 12.2172
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackVertexer_TOP: per event time (ms): 1.54954
-------------------------------------- ** --------------------------------------
TPC SA Tracking

## Slide 41: Speed O+O 111x111
-------------------------------------- ** --------------------------------------
Tpc_ModuleTrackReco_TOP: per event time (ms): 1695.11
-------------------------------------- ** --------------------------------------
Tpc_AssembledTrackReco_TOP: per event time (ms): 1989.08
-------------------------------------- ** --------------------------------------
Tpc_PolyClusterizer_TOP: per event time (ms): 35009.7
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackReco_TOP: per event time (ms): 10.3582
-------------------------------------- ** --------------------------------------
Tpc_PolyTrackVertexer_TOP: per event time (ms): 1.65706
-------------------------------------- ** --------------------------------------
TPC SA Tracking

## Slide 42: Recognition
Chenxi Ma – extensive work on Fitting procedure and reconstruction
Yuri Mitrankov – SC Electric field tuning, reconstruction, and plots
Chenliang Jin - combined spectra
Luke Legnoski – plots and gain normalization (not implemented yet)

## Slide 43: Backup

## Slide 44: Arementeros-Podolanski plot
Kshort and lambda bands are seen with TPC SA
Conversions appear at 0
Maybe will do with like sign bg subtracktion if there will be enough time…

## Slide 47: SC Electric field. Additional plots
Rossegger Green function and kernels

## Slide 48: dEdx O+O
Au+Au run 76905 (6x6, 1mrad)

## Slide 49: reconstruction cuts

## Slide 50: reconstruction cuts

## Slide 51
Store 79506 - 79516. Start - 348.314 kHz, End - 196.586 kHz
Run 79513. 232.228 kHz

## Slide 52: AI usage disclosure
Codex was used